Unstirred water bath specifications

2 FOOTPRINT

2.1 FOOTPRINT

The vendor will supply the maximum HxWxD of the device in mm when lid is fully closed and fully open.

3 PERFORMANCE & VERSATILITY

3.1 RESERVOIR CAPACITY

State the reservoir capacity of the unit in litres.

3.2 OVERHEATING PROTECTION

The unit must have an overheating protection feature.

3.3 TEMPERATURE CONTROL

The unit will have a digital PID temperature control. The controller must allow for the set temperature to be set in increments of 1oC. The unit will have a settable temperature range of 30oc to 95oC.

3.4 HEATING BEAD/LAB ARMOUR

The vendor will detail if the unit is compatible with heating beads/lab armour.

3.5 PROGRAMMABILITY

The controller will be end-user programmable. The vendor will detail all features which are available as standard.

3.6 CONNECTIVITY

The vendor will list the connecting ports available for extracting data from the device I) USB (please state version) and quantity II) RS-232 ports and quantity III) Ethernet port IV) other communication and connectivity options, please be specific.

3.7 REMOTE ACCESS

The vendor will detail remote access capabilities.

3.8 SOFTWARE & FIRMWARE UPDATES

The vendor will detail if updates are free of charge or costed and how any updates are installed.

3.9 LID

The unit will be supplied with a lid.

4 ENERGY EFFICIENCY

4.1 ENERGY CONSUMPTION

The vendor will state the energy consumption of the unit when heating at 65oC with the lid on. The ambient conditions should be lab representative (23oC +/-1.5oC) and the reservoir of the unit will be filled to 2/3 of capacity with water, for example, a 12L capacity unit will be filled with 8L of water.

5 SERVICE AND SUPPORT

5.1 FIELD BASED SUPPORT

The vendor will detail the field-based service, repair, block temperature calibration and proactive maintenance packages that can ensure optimum performances and minimal downtime.

5.2 WARRANTY

The minimum warranty requirements are 12 months including all parts and labour.

5.3 ENGINEERS

The vendor will confirm the number of engineers available and their status as employees or third-party contractors.

5.4 FAULT RESPONSE & REPAIR

The vendor will respond promptly to initial report of a fault. The unit will be examined and repaired by an engineer withing 2 working weeks.

5.5 CERTIFIED ENGINEERS

All service engineers must be able to provide evidence of unit training complete with authorised signatures by the supplier.

5.6 UNIT REPAIRS

The vendor will detail any repairs that cannot be carried out on-site. The vendor will provide the address of the off-site workshop and provide the estimated time taken to complete repairs.

5.7 POST DISCONTINUATION SUPPORT

The vendor will confirm the length of support and spare part guarantees upon the discontinuation of the device.

6 CARBON EMISSIONS

To quantify emissions the vendor will provide the following information.

6.1 UNIT WEIGHT

The vendor will provide the weight of the unit in kg to three decimal places both packed and unpacked.

6.2 MATERIALS

The vendor will provide the respective weights of the materials that make up this unit. For example, 316 stainless steel 1.234 kg.

6.3 UNIT RECYCLABILITY

By percentage weight the vendor will detail how much of this unit is recyclable and detail the recycling process for each individual material or component. The vendor will provide details on any materials that are non-recyclable

6.4 ORIGIN

Units will be manufactured at sites close to the site of use to reduce carbon emissions associated with transportation from factory to the site of use. The vendor will provide the address of the site of manufacture.

6.5 TRANSPORT

The vendor will provide the approximate transport distance from factory to site of delivery including the mode(s) of transport (vehicle type and classification).

6.6 MANUFACTURING SITE

The vendor will provide information on how the manufacturer, (and sales partner where appropriate), monitors the carbon footprint and environmental impact of the production, distribution, sales and support of this equipment.

The vendor will provide evidence of relevant ISO accreditation, product life cycle analysis and methods/processes in place to mitigate carbon footprint to support this analysis.

6.7 POLY- AND PERFLUOROALKYL SUBSTANCES

The vendor will provide a unit preferably free of poly- and perfluoroalkyl substances (PFAs). If PFAs are used the vendor will detail their quantity and deployment.

7. LONGEVITY

7.1 LIFESPAN

The vendor will provide an estimated lifespan of the unit with supporting references for this, or previous models that support this estimation.

8.0 ERGONOMICS

8.1 EASE OF USE

The vendor will detail all unit features which facilitate ease and comfort of use.